M.o.D. ARZENAL Electromechanical Ltd.

Central Measuring Laboratory

Summing table of accredited calibration activities

# NAA registration: NAH-2-0207/2016

| No. | Description of measuring instrument to be calibrated (or quantities to be measured) | Value or range measured or reproduced by the etalon | Uncertainty of value measured or reproduced by etalon | Supply method of measur-ment uncertainty |
| --- | --- | --- | --- | --- |
| 1. | Pressure gauges | Pressure medium: air (-985 mbar…0) bar (0 bar…1) bar (1 bar…7) bar | 4,7 – 0 mbar 0 – 4,7 mbar 16,7 – 40,1 mbar | k=2 |
|  |  | Pressure medium: fluid (7 bar…600) bar (140 bar…700) bar | 0,089 – 3,9 bar 139 – 673 mbar (k=1,65) |  |
| 2. | Thermometers 2.1. electronic thermometers 2.2. glass thermometers |  |  |  |
|  |  | (-30…+0) C (+0…+155) C (+155…+420) °C (+420…+660) °C | 89,0 – 55,0 mK 55,0 – 65,0 mK 420 mK (k= 1,65) 611 mK (k= 1,65) |  |
|  |  | (-30…+0) C (+0…+155) C (+155…+420) °C (+420…+660) °C | 89,0 – 55,0 mK 55,0 – 65,0 mK 420 mK (k= 1,65) 611 mK (k= 1,65) |  |
| 3. | Resistance standards | (0,1…109)  | (5,6·10-6…2,5·106) Ω |  |
| 4. | Resistance-measuring instruments | (0,001…109) Ω | (0,12·10-6…2,3·106) Ω |  |
| 5. | Direct-current voltmeters | (0…30000) V | (29·10-6…26) V |  |
| 6. | Direct-voltage sources | (0…30000) V | (6,8·10-6…26) V |  |
| 7. | Direct-current ammeters | (0…20) A | (95·10-9…18·10-3) A |  |
| 8. | Direct-current sources | (1·10-9…150) A | (14·10-9…10,4·10-5) A |  |
| 9. | Alternating current voltmeters (0…100·103) Hz (20…60) Hz |  |  |  |
|  |  | (0…1050) V | (160·10-6…1,2) V |  |
|  |  | (1050…30000)V | (11…300) V |  |
| 10. | Alternating voltage sources (0…1·106) Hz (20…60) Hz |  |  |  |
|  |  | (0…750) V | (9·10-6…9,7) V |  |
|  |  | (750…30000) V | (11…300) V |  |
| 11. | Alternating current meters (10…30·103) Hz | (0…20) A | (1,1·10-6…140·10-3) A |  |
| 12. | Alternating current sources (20…100·103) Hz | (0…2) A | (130·10-12…93·10-3) A |  |
| 13. | 13.1. High-frequency voltmeters in 50 Ω system (9·103…1,2·109) Hz | (0…10) V | (82·10-6…1,2) V |  |
|  | 13.2. High frequency power meters in 50 Ω system (0…40·109) Hz | (0,1·10-6…0,5) W | (0,15…0,24) dB |  |
| 14. | High-frequency attenuators (0…40·109) Hz | (0…50) dB | (0,07…0,30) dB |  |
| 15. | Frequency meters | 5 MHz 10 Hz…100 MHz 100 MHz… 40 GHz | 4,2·10-10 1,5·10-7 5·10-9 |  |

Delivery addresses:

4461 Nyírtelek, Dózsa György út 121. Telephone: (42) 210-555*/7399

2100 Gödöllő, Dózsa György út 59-61. Telephone: (06-20) 449-9737